Anexa nr.1

| Nr d/o | Denumirea | UM | cantitatea |
| --- | --- | --- | --- |
| 1 | Conector RJ 45 | buc | 12700 |
| 2 | Faseta 200x2,5/homut plastic (250 buc) | set | 74 |
| 3 | Scoabe Nr.5 (100 buc.) | set | 390 |
| 4 | Servetele cu spirt izopropilic pentru FO | buc | 110 |
| 5 | Soluție pt curatare CO „D" Gel Cable Solvent set 4 buc) | buc | 4 |
| 6 | Tub MWTM 32/12 | m | 38 |
| 7 | Tub MWTM 70/26 | m | 10 |
| 8 | Banda de inox 0,7x20mm ( bobina-50m) | buc | 12 |
| 9 | Catarama de inox | buc | 160 |
| 10 | Adaptor optic SC/PC-SC/PC, SM, simplex | buc | 800 |
| 11 | Priza pentru FO SC abonat cu adapter SC | buc | 205 |
| 12 | Air curatare fibra optica si conectori | buc | 24 |
| 13 | Patch panel optic metalic ODF pt rack19", 1U, sertar culisant, 24 SC, set cu caseta de sudura, pigtail SC/SC si adaptoare optice SC/SC. | buc | 2 |
| 14 | Modul UTP cat 5epentru patch-panel | buc | 20 |
| 15 | Patch panel pentru 24 module UTP/FTP cat 5e,fara module | buc | 2 |
| 16 | Pigtail SC/APC, SM, 9/125, 0,9mm, G652D fiber, 2m | buc | 135 |
| 17 | 1x8 PLC Fiber Splitter, Splice/Pigtailed ABS Module, 2.0mm, SC/APC, Singlemode | buc | 20 |
| 18 | 1x8 PLC Fiber Splitter, Splice/Pigtailed ABS Module, 2.0mm, SC/UPC, Singlemode | buc | 20 |
| 19 | 1x8 PLC Fiber Splitter, Mini Module, 900μm, SC/UPC, Singlemode | buc | 20 |
| 20 | 1x8 PLC Fiber Splitter, Steel Tube, Bare Fiber 250μm, No Connector, Singlemode | buc | 7 |
| 21 | 1x16 PLC Fiber Splitter, Splice/Pigtailed ABS Module, 2.0mm, SC/APC, Singlemode | buc | 7 |
| 22 | 1x16 PLC Fiber Splitter, Mini Module, 900μm, SC/UPC, Singlemode | buc | 15 |
| 23 | 1x16 PLC Fiber Splitter, Steel Tube, Bare Fiber 250μm, No Connector, Singlemode | buc | 4 |
| 24 | Clema de intindere AC ADSS 6 L= 500 mm | buc | 120 |
| 25 | Patch-cord SC-LC SM Simplex 3M | buc | 70 |
| 26 | Patch-cord LC-LC SM Simplex 3M | buc | 640 |
| 27 | Patch cord FC/UPC-SC/UPC SM Duplex 10m | buc | 10 |
| 28 | Patch cord FC/UPC-SC/UPC SM Duplex 3m | buc | 24 |
| 30 | Patch-cord SC-LC SM Simplex 5M | buc | 10 |